## Sheet1
ADC+DUT noise reading for example -123db(A) | ADC residual noise reading for example -128db(A) | ADC 0dbfs setting for example 1.7V | DUT max signal level, as example 5V | Estimated level of the real DUT SNR in db(A)
-117.3 | -128 | 1.7 | 3.3 | -123.4476